## Sheet1
Optimization Output
Optimization Objective | Energy&Economic
Optimization Variable | 1 | -1 | ! Supply Chilled Water Temperature
| 1 | -1 | ! Return Condense Water Temperature
| 1 | -1 | ! Supply AHU Setpoint
| 1 | -1 | ! Minimum Vertical Zone Number
| 1 | -1 | ! Number of Energy Station
| 1 | -1 | ! Topology
| 1 | -1 | ! Design Pressure Index
| #N/A | #N/A
Optimization Results | Design Variable | 7.4 | ! Supply Chilled Water Temperature
|  | 31.8 | ! Return Condense Water Temperature
|  | 13.5 | ! Supply AHU Setpoint
|  | 2 | ! Minimum Vertical Zone Number
|  | 2 | ! Number of Energy Station
|  | 1 | ! Topology
|  | 1 | ! Design Pressure Index
| Objective Value | 3066447559.9433 | W.h
Multiple Obejective Results are Saved in "populations.txt"
Note on C3: Value other than "-1" means this variable remains constant at this vale during optimization